# Hong Thai inhaler(Software GMP/pics)

# Document Control System /eQMS

  - Document Control System

Key Functions

### Document Management System:

Manage SOPs, Work Instructions (WI), forms, manuals, etc., with features such as version control and document status (draft / approved / obsolete).

### Electronic Signatures:

Support compliance with 21 CFR Part 11 and ALCOA+ principles, including username/password authentication and audit trails.

  - Enterprise Quality Management System (eQMS)

### Training Management:

Link SOPs to employees, record training activities, manage tests, and track due dates.

Electronic signatures 21 CER Part 11

    - Electronic Records

    - Electronic Signatures

The goal is to ensure that electronic data is accurate, secure, reliable, and traceable, equivalent to paper-based documentation.

Key Principles of Part 11

    - Data Integrity – Ensuring correctness and completeness of data

    - Access Control – Controlling and restricting system access

    - Audit Trail – The system must record who did what, when, and how

    - System Validation – Demonstrating that the system works according to specifications

    - Electronic Signatures – Must be secure and legally equivalent to handwritten signatures

### Deviation / Incident / OOS (Out of Specification)

Support reporting, investigation, and follow-up of deviations, incidents, and OOS results.

### CAPA (Corrective & Preventive Action)

Manage corrective and preventive actions, including root cause analysis, action planning, and effectiveness checks.

### Change Control:

Control and track changes to processes, documents, and systems, with impact assessment and approval workflow.

### Complaints & Recall Records:

Record, track, and investigate customer complaints, as well as manage product recall documentation

- Production / MES-lite + eBR (Electronic Batch Record)

Objective: To control herbal medicine manufacturing with full traceability across batches, lots, equipment, and raw materials.

Core Functions

### Master Batch Record (MBR):

Contains manufacturing formulas, procedures, and process parameters.

### Electronic Batch Record (eBR):

Records all production activities for each batch.

### Weighing & Dispensing:

- Generate material requisition and dispensing orders

- Connect to weighing scales (if supported)

- Verify raw material lot and expiry date

### In-Process Control (IPC):

Record in-process parameters such as moisture content, tablet weight, bulk density, etc.

### Equipment Logbook:

Record equipment usage, cleaning activities, and equipment status (in use / cleaned / maintenance)

### Herbal Medicine–Specific Steps

For herbal products, additional process steps may be required, such as:

### Extraction → Concentration → Drying → Milling → Sieving

These steps should be clearly defined in both MBR and eBR.

# Warehouse & Traceability System

### Objective:

Control stock and the status of raw materials, packaging materials, and finished goods, with the ability to answer traceability inquiries immediately.

Key Functions

- Goods Receipt (GRN) for Raw Materials / Packaging / Finished Goods

  - Record incoming materials with linked lot numbers, suppliers, and

Certificates of Analysis (CoA).

- Material Status Management

  - Track and control statuses such as:

Quarantine / Released / Rejected / Returned / Hold

- Batch-Based Issuance

  - Issue materials to production based on FIFO or FEFO rules.

- Barcode / QR Code System

  - Apply barcodes or QR codes for raw materials, WIP, and finished products.

- Inventory Reports

  - Stock on hand

  - Expiry/aging report

  - Re-order point alerts

- Integration With eBR

  - Ability to trace which raw material lots were used in which production batches.

## LIMS (Lab Information Management System) – QC Laboratory

Objective: To ensure transparency in analytical testing, enable easy traceability, and prevent unauthorized or improper result manipulation.

# Functions

Sample Registration:

Register samples for testing, including:

- Raw Material

- Bulk

- Finished Goods

- Stability

- Water

- Cleaning (swab/rinse)

Test Plan Based on Item Specification:

Define and assign test plans according to the specification of each item.

Test Result Entry:

Record test results for:Physical tests

### Maintenance & Calibration (CMMS)

Objective:

Ensure that all machines and measuring instruments have proper maintenance and calibration records in compliance with GMP requirements.

### Key Functions

- Equipment Register & Status

  - Centralized list of all equipment

  - Track equipment status (e.g., In Use, Under Maintenance, Out of Service)

- Preventive Maintenance (PM) & Calibration Scheduling

  - Define and manage PM plans

  - Create calibration schedules for each instrument or machine

### Automated Alerts & Notifications

  - System alerts when PM or calibration is due

  - Overdue reminders for critical equipment

- Record PM & Calibration Results

  - Log maintenance activities and calibration outcomes

  - Attach calibration certificates and PM reports

- Integration With eBR / Equipment Logbook

  - The system ensures that equipment used in production is in

“calibrated” status

  - Real-time validation of equipment readiness before use

- Environment & Utility Monitoring

For herbal medicine manufacturing facilities with controlled production areas (even if not cleanrooms like sterile drug environments).

### Functions

  - Record temperature and humidity in production areas, warehouses, and raw material storage rooms

  - Monitor water systems (PW / RO), including parameters such as conductivity, pH, and microbial count

  - Data logging and alarm notifications when values exceed specifications

  - Trend reports for use during audits

# IT & Compliance System

This is not a single software, but a framework that must be applied across all systems mentioned above:

### User Access Control / Role-Based Access

Ensure that each user can perform only the actions permitted for their role.

### Audit Trail

Track who made changes, what was changed, and when it occurred.

### Backup & Restore Plan

Maintain data protection and business continuity through scheduled backups and verified restoration procedures.

  - Computer System Validation (CSV) — based on GAMP 5 Validate computerized systems to ensure they are fit for intended use and compliant with regulatory requirements.

  - Incident

## IT Support SLA (5×8) – Severity Levels

Severity Level		Response Time		On-site / Start Fix Time Resolution Target High (Critical) Within 1 hour	Within 3 hours	Same day Medium	Within 4 hours	Within 1 business day	1–2 business days Low	Within 1 business day Within 1–3 business days 3–5 business days

  - Data Integrity Policy (ALCOA+)

Ensure data are Attributable, Legible, Contemporaneous, Original, Accurate, plus Complete, Consistent, Enduring, and Available.

## Project หงส์ไทย Tracking – Software Development for Herbal GMP/PICS

### ลำ1ดับ	ง1น / กิจกรรม	วันที่เริ่ม	วันที่สิ้นสุด	ระยะเวล1	หม1ยเหตุ

Kickoff + เก็บ

1	Requirement & เขียน 15/12/2025  31/01/2026  ~1.5 เดือน

SRS FDD, UAT/

(Specification) Development +

เอกสารหลัก: SRS, FDD UAT, Data Flow, User Story

ทำาคู่ขนานกับข้อ 1

- Software

Documentation

ทำาเอกสารระบบ

15/12/2025  30/04/2026  ~4.5 เดือน

ในช่วงแรก

- GMP/PIC/S (SOP,

WI, Validation Plan)

01/03/2026  30/04/2026  2 เดือน	รวม IQ/OQ/PQ Template

- Deployment Pre- production + UAT

05/05/2026  31/05/2026  ~1 เดือน	ผู้ใช้ทดสอบและเก็บ

defect

### ลำ1ดับ	ง1น / กิจกรรม	วันที่เริ่ม	วันที่สิ้นสุด	ระยะเวล1	หม1ยเหตุ

- Pre-Audit จาก อย.

(Mock Audit)

Training

01/06/2026  03/06/2026  3 วัน	ตรวจเอกสาร +

ตรวจระบบ

อบรมการใช้งาน +

- พนักงานทั้งหมด	05/06/2026  30/06/2026  ~1 เดือน

บันทึกการอบรมตาม

GMP

7

Deploy

Audit จริงโดย อย.

กันย1ยน 2026 (09/2026)

### กันย1ยน

2026

1 เดือน	เตรียม CAR ถ้ามีข้อแก้ไข (รอคิวตรวจ)

### ใช้จริง

(Go-

Live)

—	08/12/2026  —	—	เปิดใช้งานในระบบจริง